APPENDIX "A"

Underground Conduits

It will be the applicant’s obligation to charge a Technical Office or Licensed Technician:

  - To lay the underground conduits which are shown on the attached plans

  - To measure and transfer to plan – preferably in digital form and LTM coordinates (including details of depth),  on LRO plan and on detailed drawing

  - To submit to the EAC the plans for checking and approval,  immediately following their installation

The plans submitted must without fail bear the signature and approval stamp of the Licensed Technical person or Technical Office who prepared them and this stamp will be interpreted as a certification of their correctness.

After receipt and check of the conduit plans, the Authority will have the right to ask for completion of the work on Conduits and/or plans, unless it deems that work had not been carried out in accordance with the present terms.

The Authority cannot carry out a study nor can it issue terms and conditions for the electrification of the said building plots unless it receives the above mentioned plans in accordance with its requirements and specifications.

In addition, you are reminded that for the correct posting of the Authority’s record plans, you must bring along to the Drawing Office of our Area,  a plan also of the approved land division in electronic form in absolute coordinates, in the Geodetic Reference System LTM, which must also indicate the existing and proposed altitudes.